{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["조치(지적)사항"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"조치(지적)사항","index":0,"n_rows":42,"n_cols":16,"rows_kept":42,"cut":false,"hidden":false,"merged":[[4,14,5,14],[4,15,5,15],[1,1,1,15],[4,1,5,1],[4,7,5,7],[4,8,5,8],[4,9,5,9],[4,10,5,10],[4,11,5,11],[4,12,4,13],[4,2,5,2],[4,3,4,6]]}
[]
[null,"2024년 LH임대주택 급경사지 안전점검 결과(한국토지주택공사)"]
[]
[{"$nulls":4},{"$f":"SUBTOTAL(3,E8:E10)","v":3},{"$f":"SUBTOTAL(3,F8:F10)","v":3},null,{"$f":"SUBTOTAL(3,H8:H10)","v":3},3,3,3,3,3,null,{"$f":"SUBTOTAL(3,O8:O10)","v":3}]
[null,"연번","급경사지명\n(지구명)","위  치",null,null,null,"등급","용도","구조","유형","공공/민간","안전점검",null,"점검결과 및 조치내용","비고"]
[null,null,null,"시도","시군구","읍면동","지번",{"$nulls":5},"점검구분","점검일자"]
[null,"계",35]
[null,1,"진주평거2","경상남도","진주시","-",392,"B","주택","옹벽 및 축대","인공","공공","자체점검","24.03.06","이상없음"]
[null,2,"마산중리","경상남도","창원시","마산회원구",193,"B","주택","자연","옹벽 및 축대","공공","자체점검","24.03.07","이상없음"]
[null,3,"김해구산","경상남도","김해시","-",321,"B","주택","복합","인공","공공","자체점검","24.03.13","이상없음"]
[null,4,"거제장평","경상남도","거제시","-",144,"B","주택","옹벽 및 축대","옹벽 및 축대","공공","자체점검","24.03.07","이상없음"]
[null,5,"의령서동","경상남도","의령군","의령읍",238,"A","주택","옹벽 및 축대","옹벽 및 축대","공공","자체점검","24.03.06","이상없음"]
[null,6,"서울신림3","서울시","관악구","-","1735-2","B","주택","옹벽","옹벽 및 축대","공공","자체점검","24.03.04","수목전정 및 배수로 정비\n조치완료"]
[null,7,"여수문수","전남","여수시","-",11,"C","주택","복합","인공","공공","자체점검","2024-03-19","이상없음"]
[null,8,"여수소호","전남","여수시","-",45,"C","주택","옹벽","인공","공공","자체점검","2024-03-14","옹벽 기울기 지속적 관찰 중"]
[null,9,"담양백동1","전남","담양군","담양읍",34,"B","주택","옹벽","인공","공공","자체점검","2024-03-19","이상없음"]
[null,10,"광주죽림","광주시","북구","-",234,"B","주택","옹벽","인공","공공","자체점검","2024-03-14","이상없음"]
[null,11,"광주신용","광주시","북구","-","7번길58","B","주택","복합","인공","공공","자체점검","2024-03-14","이상없음"]
[null,12,"광주용두","광주시","북구","-","483번길22","A","주택","옹벽","인공","공공","자체점검","2024-03-19","이상없음"]
[null,13,"성남도촌2","경기도","성남시","-",701,"B","주택","콘크리트옹벽","옹벽 및 축대","공공","자체점검","2024-03-06","이상없음"]
[null,14,"용인흥덕3","경기도","용인시","-",1027,"B","주택","콘크리트옹벽","옹벽 및 축대","공공","자체점검","2024-03-05","이상없음"]
[null,15,"용인흥덕4","경기도","용인시","-",1021,"B","주택","콘크리트옹벽","옹벽 및 축대","공공","자체점검","2024-03-05","이상없음"]
[null,16,"성남도촌9","경기도","성남시","-",708,"B","주택","복합","옹벽 및 축대","공공","자체점검","2024-03-06","이상없음"]
[null,17,"소사주공2","경기도","부천시","-","408-1","B","주택","보강토옹벽","옹벽 및 축대","공공","자체점검","3월 22일","이상없음"]
[null,18,"의정부금오9","경기도","의정부시","-",790,"B","주택","옹벽","옹벽 및 축대","공공","자체점검","3월 21일","옹벽 균열 지속적 관찰 중"]
[null,19,"남양주퇴계원4","경기도","남양주시","퇴계원리",366,"B","주택","옹벽","옹벽 및 축대","공공","자체점검","2024-03-19","이상없음"]
[null,20,"노은송림4","대전시","유성구",null,542,"B","주택","옹벽","옹벽 및 축대","공공","자체점검","2024-03-","이상없음"]
[null,21,"울릉저동","경상북도","울릉군","-",463,"B","주택","복합","인공","공공","자체점검","2024-03-19","배수로 정비 조치완료"]
[null,22,"구미도량2-3","경상북도","구미시","-",219,"C","주택","옹벽","인공","공공","자체점검","2024-03-19","이상없음"]
[null,23,"경산사동2","경상북도","경산시","평산동",695,"B","주택","복합","인공","공공","자체점검","2024-03-12","이상없음"]
[null,24,"울산구영2","울산시","울주군",null,"855-2","B","주택","복합","인공","공공","자체점검","2024-03-12","이상없음"]
[null,25,"울산구영1","울산시","울주군",null,212,"A","주택","복합","인공","공공","자체점검","2024-03-12","이상없음"]
[null,26,"부산반송","부산시","해운대구",null,77,"B","주택","복합","인공","공공","자체점검","2024-02-21","이상없음"]
[null,27,"부산모라1","부산시","사상구",null,121,"B","주택","복합","인공","공공","자체점검","2024-03-14","이상없음"]
[null,28,"부산금곡4","부산시","북구",null,1108,"B","주택","옹벽 및 축대","인공","공공","자체점검","2024-03-13","이상없음"]
[null,29,"부산모라1","부산시","사상구",null,121,"B","주택","복합","인공","공공","자체점검","2024-03-14","이상없음"]
[null,30,"부산금곡1","부산시","북구",null,"53-1","B","주택","복합","인공","공공","자체점검","2024-02-20","이상없음"]
[null,31,"부산반송","부산시","해운대구",null,77,"B","주택","복합","인공","공공","자체점검","2024-02-21","배수로 및 휀스 정비 조치완료"]
[null,32,"부산동삼1","부산시","영도구",null,1121,"A","주택","복합","인공","공공","자체점검","2024-02-20","이상없음"]
[null,33,"부산정관1","부산시","기장군",null,1359,"A","주택","석축","인공","공공","자체점검","2024-02-19","이상없음"]
[null,34,"부산정관2","부산시","기장군",null,768,"A","주택","석축","인공","공공","자체점검","2024-02-19","이상없음"]
[null,35,"부산고촌","부산시","기장군",null,615,"A","주택","복합","인공","공공","자체점검","2024-02-19","이상없음"]